## Info 1
Section | Key | Value
Run | run_id | run-20260413-132535
Run | created_utc | 2026-04-13T13:25:35.853841+00:00
Run | source_file_count
Run | plant_count | 19
Device Types | Plant | Present
Device Types | Inverter | Present
Device Types | Combiner | Present
Device Types | Meter | Present
Device Types | WeatherStation | Present
Device Types | Tracker | Present
Device Types | Transformer | Present
Plant | plant_0.name
Plant | plant_0.type
Plant | plant_1.name
Plant | plant_1.type
Plant | plant_2.name
Plant | plant_2.type
Plant | plant_3.name
Plant | plant_3.type
Plant | plant_4.name
Plant | plant_4.type
Plant | plant_5.name
Plant | plant_5.type
Plant | plant_6.name
Plant | plant_6.type
Plant | plant_7.name
Plant | plant_7.type
Plant | plant_8.name
Plant | plant_8.type
Plant | plant_9.name
Plant | plant_9.type
Plant | plant_10.name
Plant | plant_10.type
Plant | plant_11.name
Plant | plant_11.type
Plant | plant_12.name
Plant | plant_12.type
Plant | plant_13.name
Plant | plant_13.type
Plant | plant_14.name
Plant | plant_14.type
Plant | plant_15.name
Plant | plant_15.type
Plant | plant_16.name
Plant | plant_16.type
Plant | plant_17.name
Plant | plant_17.type
Plant | plant_18.name
Plant | plant_18.type

## Info 2
Device Type Name | Device Model Name | Device Manufacturer
Combiner | Unknown | Unknown
Inverter | SC2500-EV-US | SMA
Inverter | Unknown | Unknown
Meter | Unknown | Unknown
Plant | Unknown | Unknown
Tracker | Unknown | Unknown
Transformer | Unknown | Unknown
WeatherStation | Unknown | Unknown

## Missing Questions
Plant ID | Scope | Node ID | Field | Reason | Priority | Question for User | User Answer | Status
plant_0 | plant |  | ac_kw | not_found | high | Provide AC capacity (kW) for plant plant_0 |  | Open
plant_0 | plant |  | dc_kw | not_found | high | Provide DC capacity (kW) for plant plant_0 |  | Open
plant_0 | plant |  | inverter_count | not_found | high | Provide inverter_count for plant plant_0 |  | Open
plant_0 | plant |  | inverter_model | not_found | high | Provide inverter_model for plant plant_0 |  | Open
plant_0 | plant |  | module_count | not_found | high | Provide module_count for plant plant_0 |  | Open
plant_0 | plant |  | module_model | not_found | high | Provide module_model for plant plant_0 |  | Open
plant_0 | plant |  | plant_name | not_found | high | Provide the plant name. |  | Open
plant_1 | plant |  | ac_kw | not_found | high | Provide AC capacity (kW) for plant plant_1 |  | Open
plant_1 | plant |  | dc_kw | not_found | high | Provide DC capacity (kW) for plant plant_1 |  | Open
plant_1 | plant |  | inverter_count | not_found | high | Provide inverter_count for plant plant_1 |  | Open
plant_1 | plant |  | inverter_model | not_found | high | Provide inverter_model for plant plant_1 |  | Open
plant_1 | plant |  | module_count | not_found | high | Provide module_count for plant plant_1 |  | Open
plant_1 | plant |  | module_model | not_found | high | Provide module_model for plant plant_1 |  | Open
plant_1 | plant |  | plant_name | not_found | high | Provide the plant name. |  | Open
plant_10 | plant |  | ac_kw | not_found | high | Provide AC capacity (kW) for plant plant_10 |  | Open
plant_10 | plant |  | dc_kw | not_found | high | Provide DC capacity (kW) for plant plant_10 |  | Open
plant_10 | plant |  | inverter_count | not_found | high | Provide inverter_count for plant plant_10 |  | Open
plant_10 | plant |  | inverter_model | not_found | high | Provide inverter_model for plant plant_10 |  | Open
plant_10 | plant |  | module_count | not_found | high | Provide module_count for plant plant_10 |  | Open
plant_10 | plant |  | module_model | not_found | high | Provide module_model for plant plant_10 |  | Open
plant_10 | plant |  | plant_name | not_found | high | Provide the plant name. |  | Open
plant_11 | plant |  | ac_kw | not_found | high | Provide AC capacity (kW) for plant plant_11 |  | Open
plant_11 | plant |  | dc_kw | not_found | high | Provide DC capacity (kW) for plant plant_11 |  | Open
plant_11 | plant |  | inverter_count | not_found | high | Provide inverter_count for plant plant_11 |  | Open
plant_11 | plant |  | inverter_model | not_found | high | Provide inverter_model for plant plant_11 |  | Open
plant_11 | plant |  | module_count | not_found | high | Provide module_count for plant plant_11 |  | Open
plant_11 | plant |  | module_model | not_found | high | Provide module_model for plant plant_11 |  | Open
plant_11 | plant |  | plant_name | not_found | high | Provide the plant name. |  | Open
plant_12 | plant |  | ac_kw | not_found | high | Provide AC capacity (kW) for plant plant_12 |  | Open
plant_12 | plant |  | dc_kw | not_found | high | Provide DC capacity (kW) for plant plant_12 |  | Open
plant_12 | plant |  | inverter_count | not_found | high | Provide inverter_count for plant plant_12 |  | Open
plant_12 | plant |  | inverter_model | not_found | high | Provide inverter_model for plant plant_12 |  | Open
plant_12 | plant |  | module_count | not_found | high | Provide module_count for plant plant_12 |  | Open
plant_12 | plant |  | module_model | not_found | high | Provide module_model for plant plant_12 |  | Open
plant_12 | plant |  | plant_name | not_found | high | Provide the plant name. |  | Open
plant_13 | plant |  | ac_kw | not_found | high | Provide AC capacity (kW) for plant plant_13 |  | Open
plant_13 | plant |  | dc_kw | not_found | high | Provide DC capacity (kW) for plant plant_13 |  | Open
plant_13 | plant |  | inverter_count | not_found | high | Provide inverter_count for plant plant_13 |  | Open
plant_13 | plant |  | inverter_model | not_found | high | Provide inverter_model for plant plant_13 |  | Open
plant_13 | plant |  | module_count | not_found | high | Provide module_count for plant plant_13 |  | Open
plant_13 | plant |  | module_model | not_found | high | Provide module_model for plant plant_13 |  | Open
plant_13 | plant |  | plant_name | not_found | high | Provide the plant name. |  | Open
plant_14 | plant |  | ac_kw | not_found | high | Provide AC capacity (kW) for plant plant_14 |  | Open
plant_14 | plant |  | dc_kw | not_found | high | Provide DC capacity (kW) for plant plant_14 |  | Open
plant_14 | plant |  | inverter_count | not_found | high | Provide inverter_count for plant plant_14 |  | Open
plant_14 | plant |  | inverter_model | not_found | high | Provide inverter_model for plant plant_14 |  | Open
plant_14 | plant |  | module_count | not_found | high | Provide module_count for plant plant_14 |  | Open
plant_14 | plant |  | module_model | not_found | high | Provide module_model for plant plant_14 |  | Open
plant_14 | plant |  | plant_name | not_found | high | Provide the plant name. |  | Open
plant_15 | plant |  | ac_kw | not_found | high | Provide AC capacity (kW) for plant plant_15 |  | Open
plant_15 | plant |  | dc_kw | not_found | high | Provide DC capacity (kW) for plant plant_15 |  | Open
plant_15 | plant |  | inverter_count | not_found | high | Provide inverter_count for plant plant_15 |  | Open
plant_15 | plant |  | inverter_model | not_found | high | Provide inverter_model for plant plant_15 |  | Open
plant_15 | plant |  | module_count | not_found | high | Provide module_count for plant plant_15 |  | Open
plant_15 | plant |  | module_model | not_found | high | Provide module_model for plant plant_15 |  | Open
plant_15 | plant |  | plant_name | not_found | high | Provide the plant name. |  | Open
plant_16 | plant |  | ac_kw | not_found | high | Provide AC capacity (kW) for plant plant_16 |  | Open
plant_16 | plant |  | dc_kw | not_found | high | Provide DC capacity (kW) for plant plant_16 |  | Open
plant_16 | plant |  | inverter_count | not_found | high | Provide inverter_count for plant plant_16 |  | Open
plant_16 | plant |  | inverter_model | not_found | high | Provide inverter_model for plant plant_16 |  | Open
plant_16 | plant |  | module_count | not_found | high | Provide module_count for plant plant_16 |  | Open
plant_16 | plant |  | module_model | not_found | high | Provide module_model for plant plant_16 |  | Open
plant_16 | plant |  | plant_name | not_found | high | Provide the plant name. |  | Open
plant_17 | plant |  | ac_kw | not_found | high | Provide AC capacity (kW) for plant plant_17 |  | Open
plant_17 | plant |  | dc_kw | not_found | high | Provide DC capacity (kW) for plant plant_17 |  | Open
plant_17 | plant |  | inverter_count | not_found | high | Provide inverter_count for plant plant_17 |  | Open
plant_17 | plant |  | inverter_model | not_found | high | Provide inverter_model for plant plant_17 |  | Open
plant_17 | plant |  | module_count | not_found | high | Provide module_count for plant plant_17 |  | Open
plant_17 | plant |  | module_model | not_found | high | Provide module_model for plant plant_17 |  | Open
plant_17 | plant |  | plant_name | not_found | high | Provide the plant name. |  | Open
plant_18 | plant |  | ac_kw | not_found | high | Provide AC capacity (kW) for plant plant_18 |  | Open
plant_18 | plant |  | dc_kw | not_found | high | Provide DC capacity (kW) for plant plant_18 |  | Open
plant_18 | plant |  | inverter_count | not_found | high | Provide inverter_count for plant plant_18 |  | Open
plant_18 | plant |  | inverter_model | not_found | high | Provide inverter_model for plant plant_18 |  | Open
plant_18 | plant |  | module_count | not_found | high | Provide module_count for plant plant_18 |  | Open
plant_18 | plant |  | module_model | not_found | high | Provide module_model for plant plant_18 |  | Open
plant_18 | plant |  | plant_name | not_found | high | Provide the plant name. |  | Open
plant_2 | plant |  | ac_kw | not_found | high | Provide AC capacity (kW) for plant plant_2 |  | Open
plant_2 | plant |  | dc_kw | not_found | high | Provide DC capacity (kW) for plant plant_2 |  | Open
plant_2 | plant |  | inverter_count | not_found | high | Provide inverter_count for plant plant_2 |  | Open
plant_2 | plant |  | inverter_model | not_found | high | Provide inverter_model for plant plant_2 |  | Open
plant_2 | plant |  | module_count | not_found | high | Provide module_count for plant plant_2 |  | Open
plant_2 | plant |  | module_model | not_found | high | Provide module_model for plant plant_2 |  | Open
plant_2 | plant |  | plant_name | not_found | high | Provide the plant name. |  | Open
plant_3 | plant |  | ac_kw | not_found | high | Provide AC capacity (kW) for plant plant_3 |  | Open
plant_3 | plant |  | dc_kw | not_found | high | Provide DC capacity (kW) for plant plant_3 |  | Open
plant_3 | plant |  | inverter_count | not_found | high | Provide inverter_count for plant plant_3 |  | Open
plant_3 | plant |  | inverter_model | not_found | high | Provide inverter_model for plant plant_3 |  | Open
plant_3 | plant |  | module_count | not_found | high | Provide module_count for plant plant_3 |  | Open
plant_3 | plant |  | module_model | not_found | high | Provide module_model for plant plant_3 |  | Open
plant_3 | plant |  | plant_name | not_found | high | Provide the plant name. |  | Open
plant_4 | plant |  | inverter_count | not_found | high | Provide inverter_count for plant JACOB GILMORE AND |  | Open
plant_4 | plant |  | inverter_model | not_found | high | Provide inverter_model for plant JACOB GILMORE AND |  | Open
plant_5 | plant |  | ac_kw | not_found | high | Provide AC capacity (kW) for plant plant_5 |  | Open
plant_5 | plant |  | dc_kw | not_found | high | Provide DC capacity (kW) for plant plant_5 |  | Open
plant_5 | plant |  | inverter_count | not_found | high | Provide inverter_count for plant plant_5 |  | Open
plant_5 | plant |  | inverter_model | not_found | high | Provide inverter_model for plant plant_5 |  | Open
plant_5 | plant |  | module_count | not_found | high | Provide module_count for plant plant_5 |  | Open
plant_5 | plant |  | module_model | not_found | high | Provide module_model for plant plant_5 |  | Open
plant_5 | plant |  | plant_name | not_found | high | Provide the plant name. |  | Open
plant_6 | plant |  | ac_kw | not_found | high | Provide AC capacity (kW) for plant plant_6 |  | Open
plant_6 | plant |  | dc_kw | not_found | high | Provide DC capacity (kW) for plant plant_6 |  | Open
plant_6 | plant |  | inverter_count | not_found | high | Provide inverter_count for plant plant_6 |  | Open
plant_6 | plant |  | inverter_model | not_found | high | Provide inverter_model for plant plant_6 |  | Open
plant_6 | plant |  | module_count | not_found | high | Provide module_count for plant plant_6 |  | Open
plant_6 | plant |  | module_model | not_found | high | Provide module_model for plant plant_6 |  | Open
plant_6 | plant |  | plant_name | not_found | high | Provide the plant name. |  | Open
plant_7 | plant |  | ac_kw | not_found | high | Provide AC capacity (kW) for plant Introduction |  | Open
plant_7 | plant |  | dc_kw | not_found | high | Provide DC capacity (kW) for plant Introduction |  | Open
plant_7 | plant |  | inverter_count | not_found | high | Provide inverter_count for plant Introduction |  | Open
plant_7 | plant |  | inverter_model | not_found | high | Provide inverter_model for plant Introduction |  | Open
plant_8 | plant |  | ac_kw | not_found | high | Provide AC capacity (kW) for plant Anemometer |  | Open
plant_8 | plant |  | dc_kw | not_found | high | Provide DC capacity (kW) for plant Anemometer |  | Open
plant_8 | plant |  | inverter_count | not_found | high | Provide inverter_count for plant Anemometer |  | Open
plant_8 | plant |  | inverter_model | not_found | high | Provide inverter_model for plant Anemometer |  | Open
plant_8 | plant |  | module_model | not_found | high | Provide module_model for plant Anemometer |  | Open
plant_9 | plant |  | ac_kw | not_found | high | Provide AC capacity (kW) for plant plant_9 |  | Open
plant_9 | plant |  | dc_kw | not_found | high | Provide DC capacity (kW) for plant plant_9 |  | Open
plant_9 | plant |  | inverter_count | not_found | high | Provide inverter_count for plant plant_9 |  | Open
plant_9 | plant |  | inverter_model | not_found | high | Provide inverter_model for plant plant_9 |  | Open
plant_9 | plant |  | module_count | not_found | high | Provide module_count for plant plant_9 |  | Open
plant_9 | plant |  | module_model | not_found | high | Provide module_model for plant plant_9 |  | Open
plant_9 | plant |  | plant_name | not_found | high | Provide the plant name. |  | Open

## Review Summary
Sheet | Total Rows | Needs Review | Review %
Combiner | 25 | 0 | 0
Inverter | 24 | 0 | 0
Meter | 3 | 0 | 0
Plant | 19 | 0 | 0
Tracker | 1 | 0 | 0
Transformer | 1 | 0 | 0
WeatherStation | 5 | 0 | 0

## Plant
ID (UUID) | Modification status | Name | Parent | Model | Serial No | Inst. Date | Plant Code [PlantCode] | Technology [Technology] | AC Capacity [ACCapacity] | DC Capacity [DCCapacity] | Latitude [Latitude] | Longitude [Longitude] | Commissioning Date [CommissioningDate] | Manufacturer [Manufacturer] | Confidence % | Confidence Label | Review Required | Review Reasons | Suggested Value | Evidence Summary | Extraction Method | Source File | Source Pages
plant_8:root | New | Anemometer | [14 empty] | FALSE
plant_7:root | New | Introduction | [14 empty] | FALSE
plant_4:root | New | JACOB GILMORE AND | [14 empty] | FALSE
plant_0:root | New | plant_0 | [14 empty] | FALSE
plant_1:root | New | plant_1 | [14 empty] | FALSE
plant_10:root | New | plant_10 | [14 empty] | FALSE
plant_11:root | New | plant_11 | [14 empty] | FALSE
plant_12:root | New | plant_12 | [14 empty] | FALSE
plant_13:root | New | plant_13 | [14 empty] | FALSE
plant_14:root | New | plant_14 | [14 empty] | FALSE
plant_15:root | New | plant_15 | [14 empty] | FALSE
plant_16:root | New | plant_16 | [14 empty] | FALSE
plant_17:root | New | plant_17 | [14 empty] | FALSE
plant_18:root | New | plant_18 | [14 empty] | FALSE
plant_2:root | New | plant_2 | [14 empty] | FALSE
plant_3:root | New | plant_3 | [14 empty] | FALSE
plant_5:root | New | plant_5 | [14 empty] | FALSE
plant_6:root | New | plant_6 | [14 empty] | FALSE
plant_9:root | New | plant_9 | [14 empty] | FALSE

## Inverter
ID (UUID) | Modification status | Name | Parent | Model | Serial No | Inst. Date | Manufacturer [Manufacturer] | Model [ModelName] | Quantity [Quantity] | Nominal AC Voltage [NominalACVoltage] | Max DC Voltage [MaxDCVoltage] | Max Power [MaxPower] | Max Continuous Current [MaxContinuousCurrent] | AC Capacity [ACCapacity] | DC Capacity [DCCapacity] | PPC ID [PPCID] | Nominal Efficiency [NominalEfficiency] | MPPT Count [MpptCount] | Confidence % | Confidence Label | Review Required | Review Reasons | Suggested Value | Evidence Summary | Extraction Method | Source File | Source Pages
plant_4:inv_24 | New | INVERTER 2.52 | JACOB GILMORE AND | [5 empty] | 1 | [9 empty] | 90 |  | FALSE
plant_4:inv_1 | New | Inverter 1 | JACOB GILMORE AND | SC2500-EV-US |  |  | SMA | SC2500-EV-US | 1 | [9 empty] | 90 |  | FALSE
plant_4:inv_10 | New | Inverter 10 | JACOB GILMORE AND | SC2500-EV-US |  |  | SMA | SC2500-EV-US | 1 | [9 empty] | 90 |  | FALSE
plant_4:inv_11 | New | Inverter 11 | JACOB GILMORE AND | SC2500-EV-US |  |  | SMA | SC2500-EV-US | 1 | [9 empty] | 90 |  | FALSE
plant_4:inv_12 | New | Inverter 12 | JACOB GILMORE AND | SC2500-EV-US |  |  | SMA | SC2500-EV-US | 1 | [9 empty] | 90 |  | FALSE
plant_4:inv_13 | New | Inverter 13 | JACOB GILMORE AND | SC2500-EV-US |  |  | SMA | SC2500-EV-US | 1 | [9 empty] | 90 |  | FALSE
plant_4:inv_14 | New | Inverter 14 | JACOB GILMORE AND | SC2500-EV-US |  |  | SMA | SC2500-EV-US | 1 | [9 empty] | 90 |  | FALSE
plant_4:inv_15 | New | Inverter 15 | JACOB GILMORE AND | SC2500-EV-US |  |  | SMA | SC2500-EV-US | 1 | [9 empty] | 90 |  | FALSE
plant_4:inv_16 | New | Inverter 16 | JACOB GILMORE AND | SC2500-EV-US |  |  | SMA | SC2500-EV-US | 1 | [9 empty] | 90 |  | FALSE
plant_4:inv_17 | New | Inverter 17 | JACOB GILMORE AND | SC2500-EV-US |  |  | SMA | SC2500-EV-US | 1 | [9 empty] | 90 |  | FALSE
plant_4:inv_18 | New | Inverter 18 | JACOB GILMORE AND | SC2500-EV-US |  |  | SMA | SC2500-EV-US | 1 | [9 empty] | 90 |  | FALSE
plant_4:inv_19 | New | Inverter 19 | JACOB GILMORE AND | SC2500-EV-US |  |  | SMA | SC2500-EV-US | 1 | [9 empty] | 90 |  | FALSE
plant_4:inv_2 | New | Inverter 2 | JACOB GILMORE AND | SC2500-EV-US |  |  | SMA | SC2500-EV-US | 1 | [9 empty] | 90 |  | FALSE
plant_4:inv_20 | New | Inverter 20 | JACOB GILMORE AND | SC2500-EV-US |  |  | SMA | SC2500-EV-US | 1 | [9 empty] | 90 |  | FALSE
plant_4:inv_21 | New | Inverter 21 | JACOB GILMORE AND | SC2500-EV-US |  |  | SMA | SC2500-EV-US | 1 | [9 empty] | 90 |  | FALSE
plant_4:inv_22 | New | Inverter 22 | JACOB GILMORE AND | SC2500-EV-US |  |  | SMA | SC2500-EV-US | 1 | [9 empty] | 90 |  | FALSE
plant_4:inv_23 | New | Inverter 23 | JACOB GILMORE AND | SC2500-EV-US |  |  | SMA | SC2500-EV-US | 1 | [9 empty] | 90 |  | FALSE
plant_4:inv_3 | New | Inverter 3 | JACOB GILMORE AND | SC2500-EV-US |  |  | SMA | SC2500-EV-US | 1 | [9 empty] | 90 |  | FALSE
plant_4:inv_4 | New | Inverter 4 | JACOB GILMORE AND | SC2500-EV-US |  |  | SMA | SC2500-EV-US | 1 | [9 empty] | 90 |  | FALSE
plant_4:inv_5 | New | Inverter 5 | JACOB GILMORE AND | SC2500-EV-US |  |  | SMA | SC2500-EV-US | 1 | [9 empty] | 90 |  | FALSE
plant_4:inv_6 | New | Inverter 6 | JACOB GILMORE AND | SC2500-EV-US |  |  | SMA | SC2500-EV-US | 1 | [9 empty] | 90 |  | FALSE
plant_4:inv_7 | New | Inverter 7 | JACOB GILMORE AND | SC2500-EV-US |  |  | SMA | SC2500-EV-US | 1 | [9 empty] | 90 |  | FALSE
plant_4:inv_8 | New | Inverter 8 | JACOB GILMORE AND | SC2500-EV-US |  |  | SMA | SC2500-EV-US | 1 | [9 empty] | 90 |  | FALSE
plant_4:inv_9 | New | Inverter 9 | JACOB GILMORE AND | SC2500-EV-US |  |  | SMA | SC2500-EV-US | 1 | [9 empty] | 90 |  | FALSE

## Combiner
ID (UUID) | Modification status | Name | Parent | Model | Serial No | Inst. Date | String Inputs [StringInputs] | Fuse Count [FuseCount] | DC Rating [DCRating] | Manufacturer [Manufacturer] | Model [ModelName] | Confidence % | Confidence Label | Review Required | Review Reasons | Suggested Value | Evidence Summary | Extraction Method | Source File | Source Pages
plant_4:combiner_24 | New | Combiner 24 | INVERTER 2.52 | [8 empty] | 70 |  | FALSE
plant_4:combiner_1 | New | Combiner 1 | Inverter 1 | [8 empty] | 70 |  | FALSE
plant_4:combiner_10 | New | Combiner 10 | Inverter 10 | [8 empty] | 70 |  | FALSE
plant_4:combiner_11 | New | Combiner 11 | Inverter 11 | [8 empty] | 70 |  | FALSE
plant_4:combiner_12 | New | Combiner 12 | Inverter 12 | [8 empty] | 70 |  | FALSE
plant_4:combiner_13 | New | Combiner 13 | Inverter 13 | [8 empty] | 70 |  | FALSE
plant_4:combiner_14 | New | Combiner 14 | Inverter 14 | [8 empty] | 70 |  | FALSE
plant_4:combiner_15 | New | Combiner 15 | Inverter 15 | [8 empty] | 70 |  | FALSE
plant_4:combiner_16 | New | Combiner 16 | Inverter 16 | [8 empty] | 70 |  | FALSE
plant_4:combiner_17 | New | Combiner 17 | Inverter 17 | [8 empty] | 70 |  | FALSE
plant_4:combiner_18 | New | Combiner 18 | Inverter 18 | [8 empty] | 70 |  | FALSE
plant_4:combiner_19 | New | Combiner 19 | Inverter 19 | [8 empty] | 70 |  | FALSE
plant_4:combiner_2 | New | Combiner 2 | Inverter 2 | [8 empty] | 70 |  | FALSE
plant_4:combiner_20 | New | Combiner 20 | Inverter 20 | [8 empty] | 70 |  | FALSE
plant_4:combiner_21 | New | Combiner 21 | Inverter 21 | [8 empty] | 70 |  | FALSE
plant_4:combiner_22 | New | Combiner 22 | Inverter 22 | [8 empty] | 70 |  | FALSE
plant_4:combiner_23 | New | Combiner 23 | Inverter 23 | [8 empty] | 70 |  | FALSE
plant_4:combiner_3 | New | Combiner 3 | Inverter 3 | [8 empty] | 70 |  | FALSE
plant_4:combiner_4 | New | Combiner 4 | Inverter 4 | [8 empty] | 70 |  | FALSE
plant_4:combiner_5 | New | Combiner 5 | Inverter 5 | [8 empty] | 70 |  | FALSE
plant_4:combiner_6 | New | Combiner 6 | Inverter 6 | [8 empty] | 70 |  | FALSE
plant_4:combiner_7 | New | Combiner 7 | Inverter 7 | [8 empty] | 70 |  | FALSE
plant_4:combiner_8 | New | Combiner 8 | Inverter 8 | [8 empty] | 70 |  | FALSE
plant_4:combiner_9 | New | Combiner 9 | Inverter 9 | [8 empty] | 70 |  | FALSE
plant_4:combiner_real_1 | New | COMBINER BOX | JACOB GILMORE AND | [8 empty] | 70 |  | FALSE

## Meter
ID (UUID) | Modification status | Name | Parent | Model | Serial No | Inst. Date | Meter Type [MeterType] | Meter Number [MeterNumber] | Voltage [Voltage] | Manufacturer [Manufacturer] | Model [ModelName] | Protocol [Protocol] | Confidence % | Confidence Label | Review Required | Review Reasons | Suggested Value | Evidence Summary | Extraction Method | Source File | Source Pages
plant_4:meter_1 | New | METER SOCKET | JACOB GILMORE AND | [9 empty] | 70 |  | FALSE
plant_4:meter_2 | New | METER SOCKET | JACOB GILMORE AND | [9 empty] | 90 |  | FALSE
plant_4:meter_3 | New | METER SOCKET | JACOB GILMORE AND | [9 empty] | 90 |  | FALSE

## WeatherStation
ID (UUID) | Modification status | Name | Parent | Model | Serial No | Inst. Date | Sensor Type [SensorType] | Manufacturer [Manufacturer] | Model [ModelName] | Primary Sensor [PrimarySensor] | Confidence % | Confidence Label | Review Required | Review Reasons | Suggested Value | Evidence Summary | Extraction Method | Source File | Source Pages
plant_8:ws_2 | New | Pyranometer | Anemometer |  |  |  | Irradiance |  |  |  | 90 |  | FALSE
plant_8:ws_1 | New | WEATHER STATION IS | Anemometer | [7 empty] | 70 |  | FALSE
plant_7:ws_2 | New | Cell Temp Sensor | Introduction |  |  |  | Temperature |  |  |  | 90 |  | FALSE
plant_7:ws_3 | New | Pyranometer | Introduction |  |  |  | Irradiance |  |  |  | 90 |  | FALSE
plant_7:ws_1 | New | WEATHER STATION WEATHER STATION | Introduction | [7 empty] | 70 |  | FALSE

## Tracker
ID (UUID) | Modification status | Name | Parent | Model | Serial No | Inst. Date | Axis Type [AxisType] | Manufacturer [Manufacturer] | Model [ModelName] | Confidence % | Confidence Label | Review Required | Review Reasons | Suggested Value | Evidence Summary | Extraction Method | Source File | Source Pages
plant_4:tracker_1 | New | TRACKER ARRAY | JACOB GILMORE AND | [6 empty] | 70 |  | FALSE

## Transformer
ID (UUID) | Modification status | Name | Parent | Model | Serial No | Inst. Date | Primary Voltage [PrimaryVoltage] | Secondary Voltage [SecondaryVoltage] | Voltage [Voltage] | Power Rating [PowerRating] | Manufacturer [Manufacturer] | Model [ModelName] | Confidence % | Confidence Label | Review Required | Review Reasons | Suggested Value | Evidence Summary | Extraction Method | Source File | Source Pages
plant_4:tx_1 | New | SUBSTATION | JACOB GILMORE AND | [9 empty] | 70 |  | FALSE