# Drive - 2070 Pattern Migration - Event Configuration Notes

## Migration process

“Global” for all Wind customers

- Set up Event Sets for all OEM codes (4 OEMS for Pattern)

  - Defined in Excel by Anthony Crockford (Deactivated) Unity Event Set Library

  - Deployed in Unity by Jonathan Gosselin

- Set up “global” Category Sets.

  - Defined in Excel by Anthony Crockford (Deactivated) Unity Category Set Library

  - Deployed in Unity by Jonathan Gosselin & Alexander Alekseev

- Make “master” mapping between Event Set and Category Sets.

  - Defined in the Unity Event Set Library Excels, and deployed in Unity by Jonathan Gosselin

Custom for Pattern:

- Add custom Category Sets. For Pattern, this includes

  - Pattern Internal Availability. A variation of “Custom Text” that Pattern uses for Drive. See notes below.

  - Reset Rules. Copied straight from Drive. See notes below.

  - Defined in Excel by Anthony Crockford (Deactivated)

  - Deployed in Unity by Jonathan Gosselin

- Define ‘Availability marker’ for Pattern Internal Availability Category Set. This is necessary to be able to toggle ‘Used for ELA’.

  - Extracted configuration of Custom Text > IEC Level 5 > Operational PBA from Drive. See notes below

  - Manually added to Pattern Internal Availability Category Set in Unity by Anthony Crockford (Deactivated)

  - Set toggle ‘use for ELA’

- Apply site-specific overrides, extracted and converted from Drive.

  - Defined in Excel by Anthony Crockford (Deactivated)

    - Each site has a separate Excel here: Events configuration migration

      - Note: format for GE turbine Excels is older. I created a more complete version for Siemens and Vestas Excels.

  - Deployed in Unity by Jonathan Gosselin

## Loss Allocation category (Pattern Internal Availability)

The Loss Allocation category set is based on “Custom Text” in Drive. Pattern called it their “Internal Availability” category set.

Drive used Group Event Type instead of the category for ELA/TLA. As closely as possible, the Unity mapping has been matched to the Custom Text + Group Event Type in Drive.

- Most categories are clearly before or after curtailment, based on the Drive boolean configuration.

  - Most downtimes are before curtailment.

  - Most degraded and standby are after curtailment.

- Some sites have some of those categories reversed (e.g. Downtime after curtailment), so I’ve added some categories with “ELA after curtailment” explicitly in the name.

See: Convert Drive event mapping to Unity categories with ELA and TLA priority.xlsx with tab 2070.

## Reset Rules

Pattern uses ‘Reset Rules’ in Drive and has a Remote Reset Log functionality.

For the migration, I propose a category set called Reset Rules, which we populate with the current rules they have in Drive. We set a default mapping that every code is set to “No Rule Defined”, then use the site overrides to bring over the Drive rules that Pattern set.

I don’t recommend that we set this as a recommended category for all Customers:

- This is not a category set which is actively used by most Drive Customers

- it is very site-specific

- if the wrong rule is specified, an incorrect site action could be taken, which potentially damages the turbines. We should leave it up to Customers to specify this

In early 2025, we found that Pattern was still modifying the Reset Rules in Drive occasionally. In order to get the most complete set of overrides, the following script could be executed at the moment that Pattern stops using Drive to start using Unity:

- This SQL query will find all Reset Rules per code in Drive: Extract Reset Rules for Pattern for Unity migration.sql (it is specific to Pattern but could be modified). The results of the query are extracted here, as of Feb 4, 2025: Pattern Reset Rules overrides - 2025-02-04.xlsx